## Indicators
# | Name | Explanation | Period for regulatory evaluation | Category Indicators | Unit | Quarter I | Quarter II | Quarter III | Quarter IV | Year | Company | Year of reporting
1 | Microbiological water quality compliance | Percentage of the total number of microbiological tests of treated water performed that comply with the applicable standards. | quarterly & annually | Key Performance Indicators | % | 100 | 100 | 100 | 99.9 | 100 | Amman | 2022
2 | Continuity of supply | Percentage of hours when the (intermittent supply) system is pressurized. | quarterly & annually | Key Performance Indicators | % of time | 21.4 | 21.4 | 21.4 | 21.4 | 21.4 | Amman | 2022
3 | New connection efficiency | Percentage of connections installed within the specified target. | quarterly & annually | Key Performance Indicators | % of requests | 88.7 | 89.2 | 86.3 | 72.6 | 84.6 | Amman | 2022
4 | "No water" complaints per 1000 subscribers | Number of "no water" complaints per 1000 active subscribers during reporting period. | quarterly & annually | Key Performance Indicators | No. of complaints/1000 active subscribers | 27.3 | 119.6 | 160.4 | 60.3 | 365.5 | Amman | 2022
5 | Water consumption per capita (residential subscribers) | Average daily water consumption per capita. | quarterly & annually | Key Performance Indicators | L/cap/d | 53 | 53.7 | 62.2 | 61.3 | 56.7 | Amman | 2022
6 | Non-Revenue Water | Percentage of system input volume not being billed. | quarterly & annually | Key Performance Indicators | % of system input | 43 | 46.2 | 33.9 | 33.6 | 39.15 | Amman | 2022
7 | Collection Efficiency (Customers) | Percentage of revenues collected from residential and non-residential customers during period. | quarterly & annually | Key Performance Indicators | % | 159.4 | 126.5 | 0 | 0 | 97.1 | Amman | 2022
8 | Operating cost coverage ratio (revenues) | Total revenues compared to total operation and maintenance costs | quarterly & annually | Key Performance Indicators | % | 122.4 | 98.9 | 0 | 0 | 107 | Amman | 2022
9 | Employees per 1000 subscribers | Number of full-time equivelant employees per 1000 water and sewer subscribers | quarterly & annually | Key Performance Indicators | No/ 1000 subscribers | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Amman | 2022
10 | Training per employee | Number of training hours per employee during reporting period | quarterly & annually | Key Performance Indicators | h/ employee | 2.1 | 0.9 | 1.9 | 1.8 | 6.8 | Amman | 2022
11 | Subscribers receiving continous supply | Percentage of subscribers receiving 24 hours supply 7 days per week except for interruptions due to major maintenance or repair interventions. | quarterly & annually | Lower Level Performance Indicators | % | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | Amman | 2022
12 | Billing complaints | Average number of billing complaints and queries per 1000 water subscribers during reporting period | quarterly & annually | Lower Level Performance Indicators | No./1.000 subscribers | 3.7 | 3.3 | 4.6 | 4.6 | 16.1 | Amman | 2022
13 | Percentage of inactive subscribers | Percentage of subscribers inactive at the time of reporting | quarterly & annually | Lower Level Performance Indicators | % | 9.8 | 8.8 | 9.1 | 9.4 | 9.4 | Amman | 2022
14 | Water quality tests performed | percentage of treated water tests required by applicable standards that are carried out | quarterly & annually | Lower Level Performance Indicators | % of required tests | 100 | 100 | 100 | 100 | 100 | Amman | 2022
15 | Physical-chemical water quality compliance | Percentage of the total number of physical-chemical tests of treated water performed that comply with the applicable standards | quarterly & annually | Lower Level Performance Indicators | % | 99.9 | 99.8 | 99.9 | 99.9 | 99.9 | Amman | 2022
16 | Inefficiency of use of water resources | Real losses during the assessment period / System input volume during the assessment period *100 | annually | Lower Level Performance Indicators | % | - | - | - | - | 14.4 | Amman | 2022
17 | Water resources use per capita/day | Average daily volume of water supplied per capita | annually | Lower Level Performance Indicators | L/ cap/d | - | - | - | - | 126.3 | Amman | 2022
18 | Treated water storage capacity | Total capacity of treated water reservoirs (private storage tanks excluded) / system input volume during assessment period | annually | Lower Level Performance Indicators | days | - | - | - | - | 1.2 | Amman | 2022
19 | Speed of repair of failures | Percentage of network and water service connection failures repaired within target time | quarterly & annually | Lower Level Performance Indicators | % of bursts | 99.8 | 99.4 | 96.7 | 99.7 | 98.8 | Amman | 2022
20 | Leakage control per year | Percentage of mains length subject to active leakage control | quarterly & annually | Lower Level Performance Indicators | % | 2.4 | 0 | 2.5 | 2.7 | 10.1 | Amman | 2022
21 | Metering ratio | Percentage of subscriber connections that are metered | quarterly & annually | Lower Level Performance Indicators | % | 90.2 | 91.2 | 90.9 | 90.6 | 90.6 | Amman | 2022
22 | Subscriber meter replacement ratio | Percentage of subscriber meters replaced during reporting period | quarterly & annually | Lower Level Performance Indicators | % | 1.3 | 2.1 | 2.6 | 1.3 | 7.3 | Amman | 2022
23 | Water loss per subscriber | Total (apparent and real) losses, expressed in terms of volume of supplied water lost per subscriber | quarterly & annually | Lower Level Performance Indicators | m³/subscriber/ day | 0.36 | 0.42 | 0.31 | 0.29 | 0.34 | Amman | 2022
24 | Water loss per connection | Total (apparent and real) losses, expressed in terms of volume of supplied water lost per connection | quarterly & annually | Lower Level Performance Indicators | m³/connection/ day | 1.28 | 1.49 | 1.1 | 0.98 | 1.17 | Amman | 2022
25 | Water losses per mains length | Total (apparent and real) losses, expressed in terms of volume of distributed water lost per mains length | quarterly & annually | Lower Level Performance Indicators | m³/km/d | 27.3 | 0 | 23.9 | 21.7 | 25.7 | Amman | 2022
26 | Estimated water service coverage | Estimated percentage of the population supplied with water | annually | Lower Level Performance Indicators | % | - | - | - | - | 98 | Amman | 2022
27 | Percentage of water treated in wastewater treatment plants | Volume of treated wastewater vs. volume of authorized consumption (excluding exported water) | quarterly & annually | Lower Level Performance Indicators | % | 99.3 | 90.5 | 71.8 | 74.8 | 82.8 | Amman | 2022
28 | Meter reading ratio | Percentage of active customers whose meter has been read during reporting period | quarterly & annually | Lower Level Performance Indicators | % | 102.1 | 100.7 | 100.6 | 101.2 | 100.1 | Amman | 2022
29 | Electricity costs as percentage of total O&M costs | Electricity costs as percentage of total operation and maintenance costs | quarterly & annually | Lower Level Performance Indicators | % | 47.7 | 50.6 | 100 | 0 | 46.4 | Amman | 2022
30 | Average unit energy consumption | Electricity consumption per m³ supplied. | quarterly & annually | Lower Level Performance Indicators | kWh/m³ | 2.9 | 3 | 3.1 | 3 | 3 | Amman | 2022
31 | Average water and wastewater revenue for billed consumption | water and wastewater sales revenue from residential and non-residential subscribers (exported water excluded) per m3 of authorized consumption | quarterly & annually | Lower Level Performance Indicators | JOD/m³ | 0.82 | 0.84 | 0.8 | 0.82 | 0.82 | Amman | 2022
32 | Unit operating cost water and wastewater services | operation costs of water and wastewater services per m3 of authorized consumption | quarterly & annually | Lower Level Performance Indicators | JOD/m³ | 0.91 | 0.93 | 0.38 | 0 | 0.87 | Amman | 2022
33 | Unit total cost water and wastewater services | total costs of water and wastewater services per m3 of authorized consumption | annually | Lower Level Performance Indicators | JOD/m³ | - | - | - | - | 0.91 | Amman | 2022
34 | Total cost coverage ratio | total collection vs total costs of service provision | annually | Lower Level Performance Indicators | - | - | - | - | - | 102.86 | Amman | 2022
35 | Delay in accounts receivable | accounts receivable compared to billing during reporting period | annually | Lower Level Performance Indicators | months | - | - | - | - | 5.65 | Amman | 2022
36 | Days absenteeism per staff per year | Number of days of absenteeism per employee per reporting period. | annually | Lower Level Performance Indicators | days/ employee | - | - | - | - | 0.6 | Amman | 2022
37 | Percentage of staff trained | Percentage of staff trained during reporting period | quarterly & annually | Lower Level Performance Indicators | % | 13.8 | 4.8 | 5.6 | 4.5 | 28.7 | Amman | 2022
38 | Operating cost coverage ratio (collection) | Total collection compared to total operation and maintenance costs | quarterly & annually | Lower Level Performance Indicators | % | 117.7 | 93.5 | 0 | 0 | 96 | Amman | 2022
39 | Operating cost coverage ratio (billing) | Total billing compared to total operation and maintenance costs | quarterly & annually | Lower Level Performance Indicators | % | 68.8 | 66.7 | 162.5 | 0 | 107 | Amman | 2022
40 | Collection ratio | Percentage of revenues collected from billed amounts during reporting period including exported water and other billing | quarterly & annually | Lower Level Performance Indicators | % | 171.1 | 140.3 | 0 | 0 | 89.7 | Amman | 2022
41 | Employees per 1000 water subscribers | Number of full time equivalent employees per 1000 water subscribers | annually | Lower Level Performance Indicators | No/1000 water subscribers | - | - | - | - | 2 | Amman | 2022
42 | Preventive maintenance of pumps | Percentage of pumps covered by preventive maintenance | quarterly & annually | Indicators derived from national strategies | % | 99.7 | 99.7 | 48.2 | 99.7 | 86.8 | Amman | 2022
43 | Corrective maintenance of pumps | Percentage of pumps fixed by corrective maintenance | quarterly & annually | Indicators derived from national strategies | % | 46.6 | 37.4 | 126.2 | 80.3 | 72.6 | Amman | 2022
44 | Sizing of pumps | Percentage of pumps running at the right sizing | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 100 | 100 | Amman | 2022
45 | Power consumption monitoring | Percentage of pumps monitored for power consumption | quarterly & annually | Indicators derived from national strategies | % | 64.9 | 64.9 | 64.9 | 64.9 | 64.9 | Amman | 2022
46 | Operational well and reservoir meters | Percentage of reservoirs with operational meters | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 100 | 100 | Amman | 2022
47 | Metering of import and export points | Percentage of metered import and export points | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 100 | 100 | Amman | 2022
48 | Wastewater coverage | Percentage of wastewater service coverage | annually | Indicators derived from national strategies | % | - | - | - | - | 85.3 | Amman | 2022
49 | Effluent quality compliance | Percentage compliance of effluent quality test results with standards | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 99.4 | 99.9 | Amman | 2022