## Indicators
# | Name | Explanation | Period for regulatory evaluation | Category Indicators | Unit | Quarter I | Quarter II | Quarter III | Quarter IV | Year | Company | Year of reporting
1 | Microbiological water quality compliance | Percentage of the total number of microbiological tests of treated water performed that comply with the applicable standards. | quarterly & annually | Key Performance Indicators | % | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
2 | Continuity of supply | Percentage of hours when the (intermittent supply) system is pressurized. | quarterly & annually | Key Performance Indicators | % of time | 17.9 | 17.9 | 17.9 | 17.9 | 17.9 | Madaba | 2022
3 | New connection efficiency | Percentage of connections installed within the specified target. | quarterly & annually | Key Performance Indicators | % of requests | 82 | 86.3 | 89.6 | 54.3 | 75.7 | Madaba | 2022
4 | "No water" complaints per 1000 subscribers | Number of "no water" complaints per 1000 active subscribers during reporting period. | quarterly & annually | Key Performance Indicators | No. of complaints/1000 active subscribers | 29.7 | 59.8 | 176.9 | 47.1 | 309.7 | Madaba | 2022
5 | Water consumption per capita (residential subscribers) | Average daily water consumption per capita. | quarterly & annually | Key Performance Indicators | L/cap/d | 59.6 | 66.4 | 73.5 | 68 | 65.3 | Madaba | 2022
6 | Non-Revenue Water | Percentage of system input volume not being billed. | quarterly & annually | Key Performance Indicators | % of system input | 41.8 | 50.5 | 42.9 | 37.6 | 43.7 | Madaba | 2022
7 | Collection Efficiency (Customers) | Percentage of revenues collected from residential and non-residential customers during period. | quarterly & annually | Key Performance Indicators | % | 90.5 | 83 | 77.7 | 90.2 | 84.3 | Madaba | 2022
8 | Operating cost coverage ratio (revenues) | Total revenues compared to total operation and maintenance costs | quarterly & annually | Key Performance Indicators | % | 65.1 | 59.2 | 89.1 | 50.8 | 58.3 | Madaba | 2022
9 | Employees per 1000 subscribers | Number of full-time equivelant employees per 1000 water and sewer subscribers | quarterly & annually | Key Performance Indicators | No/ 1000 subscribers | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | Madaba | 2022
10 | Training per employee | Number of training hours per employee during reporting period | quarterly & annually | Key Performance Indicators | h/ employee | 0.2 | 0.5 | 0.3 | 1.5 | 2.5 | Madaba | 2022
11 | Subscribers receiving continous supply | Percentage of subscribers receiving 24 hours supply 7 days per week except for interruptions due to major maintenance or repair interventions. | quarterly & annually | Lower Level Performance Indicators | % | 0 | 0 | 0 | 0 | 0 | Madaba | 2022
12 | Billing complaints | Average number of billing complaints and queries per 1000 water subscribers during reporting period | quarterly & annually | Lower Level Performance Indicators | No./1.000 subscribers | 3.3 | 3.3 | 5.8 | 4 | 16.2 | Madaba | 2022
13 | Percentage of inactive subscribers | Percentage of subscribers inactive at the time of reporting | quarterly & annually | Lower Level Performance Indicators | % | 11.8 | 11.7 | 11.3 | 11.2 | 11.2 | Madaba | 2022
14 | Water quality tests performed | percentage of treated water tests required by applicable standards that are carried out | quarterly & annually | Lower Level Performance Indicators | % of required tests | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
15 | Physical-chemical water quality compliance | Percentage of the total number of physical-chemical tests of treated water performed that comply with the applicable standards | quarterly & annually | Lower Level Performance Indicators | % | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
16 | Inefficiency of use of water resources | Real losses during the assessment period / System input volume during the assessment period *100 | annually | Lower Level Performance Indicators | % | - | - | - | - | 20.2 | Madaba | 2022
17 | Water resources use per capita/day | Average daily volume of water supplied per capita | annually | Lower Level Performance Indicators | L/ cap/d | - | - | - | - | 134.3 | Madaba | 2022
18 | Treated water storage capacity | Total capacity of treated water reservoirs (private storage tanks excluded) / system input volume during assessment period | annually | Lower Level Performance Indicators | days | - | - | - | - | 0.7 | Madaba | 2022
19 | Speed of repair of failures | Percentage of network and water service connection failures repaired within target time | quarterly & annually | Lower Level Performance Indicators | % of bursts | 95.1 | 91.5 | 91.8 | 92.6 | 92.8 | Madaba | 2022
20 | Leakage control per year | Percentage of mains length subject to active leakage control | quarterly & annually | Lower Level Performance Indicators | % | 0 | 0 | 1.7 | 2.1 | 3.8 | Madaba | 2022
21 | Metering ratio | Percentage of subscriber connections that are metered | quarterly & annually | Lower Level Performance Indicators | % | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
22 | Subscriber meter replacement ratio | Percentage of subscriber meters replaced during reporting period | quarterly & annually | Lower Level Performance Indicators | % | 0.7 | 1.1 | 0.8 | 5.5 | 8 | Madaba | 2022
23 | Water loss per subscriber | Total (apparent and real) losses, expressed in terms of volume of supplied water lost per subscriber | quarterly & annually | Lower Level Performance Indicators | m³/subscriber/ day | 0.3 | 0.49 | 0.38 | 0.26 | 0.34 | Madaba | 2022
24 | Water loss per connection | Total (apparent and real) losses, expressed in terms of volume of supplied water lost per connection | quarterly & annually | Lower Level Performance Indicators | m³/connection/ day | 0.41 | 0.67 | 0.53 | 0.36 | 0.48 | Madaba | 2022
25 | Water losses per mains length | Total (apparent and real) losses, expressed in terms of volume of distributed water lost per mains length | quarterly & annually | Lower Level Performance Indicators | m³/km/d | 7.7 | 12.7 | 10 | 6.8 | 9.1 | Madaba | 2022
26 | Estimated water service coverage | Estimated percentage of the population supplied with water | annually | Lower Level Performance Indicators | % | - | - | - | - | 98.8 | Madaba | 2022
27 | Percentage of water treated in wastewater treatment plants | Volume of treated wastewater vs. volume of authorized consumption (excluding exported water) | quarterly & annually | Lower Level Performance Indicators | % | 56.4 | 47.6 | 44.1 | 46.2 | 48.2 | Madaba | 2022
28 | Meter reading ratio | Percentage of active customers whose meter has been read during reporting period | quarterly & annually | Lower Level Performance Indicators | % | 97.7 | 98 | 99.1 | 99.6 | 97.1 | Madaba | 2022
29 | Electricity costs as percentage of total O&M costs | Electricity costs as percentage of total operation and maintenance costs | quarterly & annually | Lower Level Performance Indicators | % | 47 | 53.5 | 44.4 | 45.5 | 47.1 | Madaba | 2022
30 | Average unit energy consumption | Electricity consumption per m³ supplied. | quarterly & annually | Lower Level Performance Indicators | kWh/m³ | 3.2 | 3.4 | 3.5 | 3.5 | 3.4 | Madaba | 2022
31 | Average water and wastewater revenue for billed consumption | water and wastewater sales revenue from residential and non-residential subscribers (exported water excluded) per m3 of authorized consumption | annually | Lower Level Performance Indicators | JOD/m³ | 0.71 | 0.69 | 0.71 | 0.67 | 0.7 | Madaba | 2022
32 | Unit operating cost water and wastewater services | operation costs of water and wastewater services per m3 of authorized consumption | quarterly & annually | Lower Level Performance Indicators | JOD/m³ | 1.04 | 1.17 | 0.86 | 1.14 | 1.17 | Madaba | 2022
33 | Unit total cost water and wastewater services | total costs of water and wastewater services per m3 of authorized consumption | annually | Lower Level Performance Indicators | JOD/m³ | - | - | - | - | 1.19 | Madaba | 2022
34 | Total cost coverage ratio | total collection vs total costs of service provision | annually | Lower Level Performance Indicators | - | - | - | - | - | 57.27 | Madaba | 2022
35 | Delay in accounts receivable | accounts receivable compared to billing during reporting period | annually | Lower Level Performance Indicators | months | - | - | - | - | 25.95 | Madaba | 2022
36 | Days absenteeism per staff per year | Number of days of absenteeism per employee per reporting period. | annually | Lower Level Performance Indicators | days/ employee | - | - | - | - | 15.5 | Madaba | 2022
37 | Percentage of staff trained | Percentage of staff trained during reporting period | quarterly & annually | Lower Level Performance Indicators | % | 4.5 | 4.5 | 3.9 | 5.6 | 18.4 | Madaba | 2022
38 | Operating cost coverage ratio (collection) | Total collection compared to total operation and maintenance costs | quarterly & annually | Lower Level Performance Indicators | % | 60.1 | 47.5 | 66.5 | 55.6 | 50.3 | Madaba | 2022
39 | Operating cost coverage ratio (billing) | Total billing compared to total operation and maintenance costs | quarterly & annually | Lower Level Performance Indicators | % | 59.7 | 53 | 76.9 | 55.5 | 54.3 | Madaba | 2022
40 | Collection ratio | Percentage of revenues collected from billed amounts during reporting period including exported water and other billing | quarterly & annually | Lower Level Performance Indicators | % | 100.6 | 89.7 | 86.4 | 100.3 | 92.7 | Madaba | 2022
41 | Employees per 1000 water subscribers | Number of full time equivalent employees per 1000 water subscribers | annually | Lower Level Performance Indicators | No/1000 water subscribers | - | - | - | - | 4.6 | Madaba | 2022
42 | Preventive maintenance of pumps | Percentage of pumps covered by preventive maintenance | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
43 | Corrective maintenance of pumps | Percentage of pumps fixed by corrective maintenance | quarterly & annually | Indicators derived from national strategies | % | 0 | 2.4 | 4.7 | 2.2 | 8.9 | Madaba | 2022
44 | Sizing of pumps | Percentage of pumps running at the right sizing | quarterly & annually | Indicators derived from national strategies | % | 63.4 | 64.3 | 62.8 | 64.4 | 64.4 | Madaba | 2022
45 | Power consumption monitoring | Percentage of pumps monitored for power consumption | quarterly & annually | Indicators derived from national strategies | % | 58.5 | 57.1 | 55.8 | 57.8 | 57.8 | Madaba | 2022
46 | Operational well and reservoir meters | Percentage of reservoirs with operational meters | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
47 | Metering of import and export points | Percentage of metered import and export points | quarterly & annually | Indicators derived from national strategies | % | 100 | 100 | 100 | 100 | 100 | Madaba | 2022
48 | Wastewater coverage | Percentage of wastewater service coverage | annually | Indicators derived from national strategies | % | - | - | - | - | 51.4 | Madaba | 2022
49 | Effluent quality compliance | Percentage compliance of effluent quality test results with standards | quarterly & annually | Indicators derived from national strategies | % | 97.3 | 95.4 | 100 | 100 | 98.3 | Madaba | 2022