## Sheet1
No. |  | Description
Location : Drinking Water Chemical Lab
1 | GC | Thermo Quest Trace GC S/N TR 201605
2 | GC | GC Modul Trace GC Ultra S/N 620100245
3 | Digital Thermometer | digi/ 51-K-Type (S/N:83000018)
4 | Compact Atomic Absorption Spectrometer | Shimadzu AA 6800 S/N A30464080310 SM
5 | Drying Oven | GCA S/N 11AT-1
6 | Refrigerator | Kelvinator P-N218788300
7 | 4 Digits Balance | Sartorius Model CP324S / SN 18204056
8 | Muffle Furnace | Thermolyne 2000 Furnace
9 | Spectrophotometer | Labomed UVS 2700 S.N : UVS 9109
10 | MBAS Comparator | Cat. 2653900
11 | Spectrophotometer | HACH LANGE DR/5000 S/N 1404470
12 | Mercury Analyzer | Teledyne - Quick Trace M7600 / SN: US 20055001
13 | Microwave Digestion | Milestone - Ethos easy / SN: 31045684
14 | Autotitrator | SI Analytics - TZ1467 / SN: 14670218
15 | Turbidimeter | Hach 2100 N 14010C031036
16 | Nitrogen Generator | Whatman S/N 76920015
17 | Ultra Pure Water system | S/N 14299
18 | pH/EC/DO/ISE/Temperature | Inolab S/N 02040006
19 | Hot plate stirrer | BIOSAN Product No 021350
20 | Vacuum Pump | Nr 1284738
21 | ICP | Teledyne, Prodigy Plus - S.N : P80420
22 | Chlorometer Duo | Palintest-SN:02711160021
23 | Water Bath | Type1004, Serial No.11190109J, GFL Germany
24 | Stirrer | Fisher Scientific Model 460 Serial 395
25 | Spectrophotometer | HACH DR 2800 / S.N 1169345
26 | Ion Chromatography | Dionex ICS - 2000, S/N 05110525
27 | Chlorometer Duo | Palintest-SN:02705180024
28 | Vaccume Pump | Gast-SN:0208632458
29 | TOC Analyzer/ Shimadzu | V-CPH, P/N 638-91062-33
30 | Glassware Dryer | PE-2010 Cat No./1.75.10.0245
31 | Hot Plate with stirrer | Torrey Pines Scientific, S/N 9902240
32 | Sensor for Digital Thermometer | Model Sender IT 1, TFA Germany, 30. 3144. 1.T
33 | Vacuum Pump | Nr 03415585
34 | Oven | S.N.G512.1873 Memmert . Model: UFE 500
35 | TOC Analyzer | Tekmar, S/N: US13315006
36 | Nitrogen Generator | Peak, S/N: A13-12-067
37 | Zero Air Generator | Peak, S/N: D08-08-66
38 | Fume Hood | Protech(AFA 1000)
39 | Wireless Temp.Monitor | S.N:076712-Model:800254,by SPER Scientific
40 | Sensor for Wireless Temp.Monitor | S.N:076713-Model:800255,by SPER Scientific
41 | Sensor for Wireless Temp.Monitor | S.N:076714-Model:800255,by SPER Scientific
42 | Sensor for Wireless Temp.Monitor | S.N:076715-Model:800255,by SPER Scientific
43 | Multiple Heating Magnetic Stirrer (AM4) | VELP Scientifica-SN:413605
44 | Heating Magnetic Stirrer (AREC) | VELP Scientifica-SN:388416
45 | Digital Thermometer | TME thermometer - SN : 62388
46 | Heating Magnatic Stirrer | Arex Digital, VELP Scientific, SN : 440621
47 | Sonicator | Branson 1510E-MTH, SN : EKB060848038E
48 | Water Bath | Type 1004, Serial No. 11323618J, GFL Germany
49 | Sieve shaker | Retsch, Type AS 200 basic, Serial No. : 1217071241
50 | Turbidimeter | Hach TL2300, Serial No.: 2018080C0086
51 | Conductivity meter | Thermo, OrionStar A212, Serial No.: X43304
52 | pH meter | DeltaOhm, HD 3405.2, Serial No.: 18024942
53 | Dual Ion Chromatography | Dionex ICS -6000, S.N= 19081117
54 | Weight (2.0 g) | ****
55 | Weight (2.0 g) | Kern & Shon GMbH / SN G1021056
56 | Weight (50 g) | ****
57 | Weight (100 g) | ****
Location : Drinking Water Micro Lab.
1 | Incubator | Memmert ICP 700 / (K704.0004)
2 | Chemically Resistant Pump | Knf / nf 300 Kt. 185 / 3.10859147
3 | Quanti-Tray Slealer | Idexx / 2X / 13-067-06868
4 | UV Counter | LEJ / EB Q 100 MC-L / 0800480803461
5 | MRT | DURAC/2763100
6 | MRT | DURAC/2763101
7 | Water Bath | GFL 1005 / 10019600
8 | Laminar Flow (Biohazard Hood) | BIOAIR / AURA HZ 48 / B11T06N4955
9 | Filter H. Manifold | Sartorius / 16831 / 49040005
10 | Filter H. Manifold | Sartorius / 16831 / 49040002
11 | Filter H. Manifold | Sartorius / 16828 / 55050003
12 | Vacuum Pump | Knf / N 035 AN.18 / 1284739
13 | Magnetic Strirrer Heater | VELP / AREX Digital / 440617
14 | Laser Thermometer | Brannan/20170705098
15 | Digital Thermometer | DS-1/022020
16 | Microscope | Nikon / C-LP / 0176933
17 | Zoom Microscope | NATIONAL / No. 420 / s226203
18 | Refrigerator/Freezer | Barnstead-Lab-Line / 3763-1 / 0904-5943
19 | Laser Thermometer | Brannan/20170705091
20 | Test tube Mixer | VELP / Zx3 / 4991037
21 | Incubator | Binder / KB 115 / 00-01072
22 | Vacuum Pump | Knf / N 035AT.18 - 1211095
23 | Quanti-Tray Sealer | Idexx / plus / QTP13194200391
24 | U.V lamp | SPECTROLINE / EA-160 / FE / 1282119
25 | Digital Hygrometer | Dwyer / Series 485 / N28Q
26 | Water Bath | Memmert / WB45 / 1705.0022
27 | Refrigerator | Helmer / HLR125 / 966979
28 | Magnetic Stirrer Heater | Lab Tech / LMS-100 / 040108034
29 | Hot Air Oven | Memmert / UNP500, S/N C 505 - 186
30 | Distiller | Hamilton / AWC / 4D / S.N 9509
31 | Autoclave | Consolidated / SN: 121620
32 | VITEK 2 Compact | Biomerieux / SN: VK2C 20091
33 | Weight (200 g) | Kern & Sohn GmbH / SN: G1021056
34 | Auto Dispenser | WHEATON / Omnispense-Plus / E05 -149
35 | Digital Thermometer | EUTECH / Temp JKT / 348678
36 | Weight (200 g) | Kern & Sohn GmbH / SN: G1021056
37 | Weight (20 g) | Kern & Sohn GmbH / SN: G1021056
38 | Top bench Balance | ADAM/ CBW-3 /AE272480720
39 | Vacuum Pump | KNF / NO35AN.18 / 02651007
40 | Vacuum Pump | KNF / NO35AN.18 / 02651008
41 | Autoclave | Raypa / AES-75 / 35610
42 | Fluorescent Microscope | Lecia / DM 2500 / 291492-112007
43 | Peristaltic Pump | Watson-Marlow / 520 S / 1050073
44 | Automatic Wash Station | IDEXX / 89-10100-02 / Wash 001595
45 | Centrifuge | SEGMA / 2-6 / 123729
46 | Sample Mixer | DYNAL / MXIC1 / 11/2007
47 | Vortex Mixer | VELP / Wizard /102778
48 | Heating Magnetic Stirrer | VELP / AREC / 388400
49 | Quanti-Tray Sealer | Idexx / 2X / 02387
50 | Weight (20 g) | S.N 191987
51 | Colony Counter | IUL / 2725 / 603
52 | Refrigerator/Freezer | SHARB/ SJ-KC53R / WH / D 090100955
53 | Digital Thermometer | IT+ / 30.3013.IT
54 | Air Condition | Petra / HPU50
55 | Air Condition | Petra / HPU50
56 | Air Condition | Petra HPW25
57 | Air Condition | Craft / f2.2
58 | Auto Dispenser | WHEATON / Omnispense-Plus / D11-375
59 | U.V light Meter (254) | LUTRON / UVC-254 / Q444474
60 | U.V light Meter (365) | LUTRON / UVA-365 / Q439058
61 | Filter H. Manifold | Sartorius / 16831 / 62090002
62 | Microscope | PZO waszawa / Lieiz / 76259
63 | Digital Thermometer | Ludwig / Physics 100-1 / H13110611
64 | Digital Thermometer | Ludwig / Physics 100-1 / H13110608
65 | Digital Thermometer | Ludwig / Physics 100-1 / H13110607
66 | Digital Thermometer | Ludwig / Physics 100-1 / H13110609
67 | pH Meter | WTW / pH 7110 / 14231678
68 | Incubator | Memmert / IPP 110 plus / V415.0032
69 | Stop Watch | Any Time / XL-021
70 | Microscope | Optika / B-500TI / 465180
71 | Digital Camera | Optika / B-4083.B9/ 462618
72 | Autoclave | Systec / VX-95/ 7441
73 | Autoclave Air Compressor | Planet air / L-S50-15 / 000999591
74 | Water Bath | Memmert / WNB22 / L516.0833
75 | Digital Thermometer | DS-1.S.N:- 012021
76 | Digital Thermometer | DS-1.S.N:- 022021
77 | Digital Thermometer | DS-1.S.N:- 032021
78 | Digital Thermometer | DS-1.S.N:- 042021
79 | Digital Thermometer | DS-1.S.N:- 052021
80 | Filta max express | IDEXX .model No:- 89-17395-00.S.N :- 17132
Location : Field Test Equipment
1 | Digital Thermometer (Ahmad) | Model 4373, Serial No.90778853, Control Company
2 | Digital Thermometer (Ahmad) | Model 4373, Serial No.90778855, Control Company
3 | pH Meter (Ahmad) | HACH SensION1, SN 08060C510126
4 | Conductivity Meter(Ahmad) | HACH SensION5, SN 08010C150016
5 | Turbidimeter(Ahmad) | HACH 2100 P/ SN 08020C027839
6 | Chlorine Test Kit (Issa) | HACH / Cat No. 21988
7 | Chlorine Test Kit (Yousef ) | HACH / SN 21988, Cat No.2231-01
8 | pH/EC Meter (Yousef ) | WTW Multiline P4 / SN 00340020
9 | Chlorine Test Kit (Ahmad) | HACH / Cat No. 2231-01
10 | Turbidimeter (Yousef ) | HACH 2100 Q/ SN 1407C033840
11 | Conductivity Meter(Issa) | HACH HQ 14 D/ SN 141000013039
12 | pH Meter (Issa) | WTW 3210/ SN 14260186
13 | pH Meter (Industrial Wastewater) | HACH Senion 1, SN : 06030C110211
14 | Turbidimeter (Issa) | (Micro TPW 20000)
15 | pH/EC Meter (Yousef ) | HACH 1000 / SN : 191840204998
16 | pH/EC Meter (Yahya ) (Drinking Water) | HACH 1000 / SN : 191840204996
17 | pH Meter (Yousef) | Thermo A221 S N: K13307
18 | EC Meter (Yousef) | Thermo A222 S N: K13148
19 | pH Meter (Mohammad) | Thermo H 10666
Location : Wastewater Chemical Lab
1 | Memmert Oven | Type U30 F Nr:850536
2 | Incubator | Memert Type ICP 500fR-Nr:k508.0012
3 | Turbidity meter | TL2300 SN2017010C0081
4 | Water Purification | Opverite S.N: 31933
5 | Digital Burette | SolarusEx20oC / (50807034)
6 | Microwave digestion milestone | Microwave milestone SN / 21045691
7 | Radwag Balance | max 310 g Nr220977/08
8 | Vacuum pump | Knf(Nr :02941955)
9 | Oven | Fn 500 S/n:Z14.E02016
10 | Incubator | memort Icp 600 Nr K608.0017
11 | pH Meter | Qis Prolineplus S/n:1228415112
12 | DO meter | DO1500/Eutech S/N 443024
13 | Compact Atomic Absorption Spectrometer | Thermo Scientific model IC 3500 SN AA 350761
14 | Drying Oven TLI | SN: 02-09062020/ Model: H0120M
15 | CL2-KIT total &free | Hach coulor disc cat no 21988 Lot A 8031F
16 | Fume Hood | Air flow monitor AFA 1000
17 | MBAS KIT | HACH(TEST KIT)detergent Disc cat no 26539-00
18 | Refrigerator / Freezer | SHARP model sj-kt53r-w11 S/N D 80800367
19 | Magnetic Stirrer | QIS 12VDC
20 | Magnetic Stirrer /Heater | velp ARE:CODE F20520162 S/N 121024
21 | Distiller | GFL TYPE 2204 S/N 10149108B
22 | COD Reactor | HACH S/N 980800006318
23 | Cl2-KIT total &free | Hach color disc Lot A 9015 A
24 | Digital Thermometer | K-TYPE S/N 83000024
25 | Digital Thermometer | K-TYPE S/N 83000023
26 | Digital Thetmometer | TFA Dostmann Kat Nr.:30.3013.IT
27 | Dispenser | 3804127/ Hirschmann
28 | Weight,2 gr | E2 S/N G0803617
29 | Weight,20 gr | E2 S/N G0803618
30 | Weight,50 gr | E2 S/N G0803619
31 | Vacuum pump | knf (Nr: 03353296)
32 | Multi -Shaker | Multi PSU 20 S.N 100801001
33 | Distillation unit | Condenser: S/N:060901225 Model No.:519-50000-00-1
Evaporator:080923862 Model No.:517-01002-002
34 | Digital Thermometer | K-TYPE S/N 83000040
35 | Digital Thermometer | K-TYPE S/N 83000027
36 | DRB Block heater | HACH DRP200 S/N:11080C00332
37 | Vacuum pump | ME4RNT SN:34939301
38 | Vacuum pump | ME4RNT SN:34939302
39 | HACH DR-6000 | HACH DR-6000 S/N 1470610
40 | Portable DO meter | Mettlert SN:B206670551
41 | Digital Thermometer | Physics 100-1, S.N:- H13110605
42 | Digital Thermometer | Physics 100-1, S.N:- H13110606
43 | Digital Thermometer | Physics 100-1, S.N:- H13110610
44 | Digital Thermometer | Physics 100-1, S.N:- H13110612
45 | pH Meter | WTW pH 7110 S.N.:14240857
46 | Multiple Heating Magnetic Stirrer | VELP SN:413607
47 | Dispenser | VITLAB S/N: 12K64479
Location : Wastewater Micro Lab
1 | Fume Hood | Protech / AFA 1000
2 | Water bath | Memmert / WNB 22 / L508.0321
3 | Autoclave | Systec / DE-65 / D1185
4 | Centrifuge | Hettich / Rotana 460 / 0009620-04-01
5 | Dispenser | Wheaton / Omnispense plus / I 08294
6 | Vacuum pump | Knf / N035AN.18 / 02941954
7 | Microscope | Meiji Mx / 4200H / 082756
8 | Vortex test tube mixer | Heidolph / REAX / 120524234
9 | Balance | Adam / PGW 3502I / AE 44564
10 | pH meter | Lamotte / pH5 / 1301170
11 | Handheld UV lamp | UVP / UVL-56/ 95-0006-03
12 | Hygrometer | Testo / 625 / 01507938
13 | Refrigerator | SHARP / SJ-KT53R-WH / D080800376
14 | Digital Thermometer | Hongyi Precision / D8101 / 21111982
15 | Digital Thermometer | Hongyi Precision / D8101 / 881982
16 | Quanti-Tray Sealer | Idexx / 2X / 02638
17 | Digital Hygrometer | Hygro-Thermometer / 2141982
18 | pH meter | Delta OHM / HD 3405.2 / 18024941
19 | Hotplate & Stirrer | LabTech / LMS-1003E / 07033123
20 | Incubator | Genlab / INC-150-FS-F-Dig-DD / Y9D015
21 | MRT | DURAC/2763102
22 | Air Condition | Petra Type / HPW 20
23 | Air Condition | Petra Type / HPW 20
24 | MRT | DURAC / 2763103
25 | Weight (10 g) | Kern & Sohn GmbH / SN: G1021056
26 | Weight (10 g) | S.N31980
27 | Digital Thermometer | DS-1.S.N:- 082021
28 | Digital Thermometer | DS-1.S.N:- 072021
29 | Digital Thermometer | DS-1.S.N:- 062021
Quality Unit/ Zarqa-Field Test
1 | pH Meter | WTW pH 3210 15141175
2 | pH Meter | WTW pH 3210 15140986
3 | pH Meter | WTW pH 3210 16140961
4 | pH Meter | Palintest micro 600 2741507
5 | pH Meter+EC Meter | Palintest micro 800 multi 2746369
6 | Conductivity Meter | WTW Cond 3210 15061576
7 | Conductivity Meter | WTW Cond 3210 15061676
8 | Conductivity Meter | Palintest micro 600 cond 2768502
9 | Turbidity Meter | MicroTPW 202009331
10 | Turbidity Meter | MicroTPW 202009332
11 | Turbidity Meter | MicroTPW 201504353
12 | Turbidity Meter | Palintest Turbimeter Plus 9209180071
13 | Turbidity Meter | Palintest Turbimeter Plus 9208180106
14 | Chlorine Meter | HACH Cat N 2129000
15 | Chlorine Meter | HACH Cat N 2129000
16 | Chlorine Meter | HACH Cat N 2129000
17 | Chlorine Meter | HACH Cat N 58700-00
18 | Chlorine Meter | Palintest
19 | Ammonia Meter | HACH Cat N 2241-00
20 | Ammonia Meter | HACH Cat N 2241-00
21 | Photometer 7500 multi | Palintest 75008180556
22 | Arsenator | Palintest P2003038
Madaba/Field Test
1 | pH Meter (Wesam) | HACH HQ11D, SN 121000079379
2 | Conductivity Meter (Wesam) | HACH HQ14D, SN 120900079119
3 | Turbidimeter(Wesam) | MicroTpw ( Hf scientific ) Model (2000) / SN 202006149
4 | Chlorine Test Kit (Wesam) | HACH / Cat No. 2231-01
Balqa / Field Test
1 | pH Meter (Omar) | HACH HQ11D SN: 131200098054
2 | Conductivity Meter (Omar) | HACH HQ14Q SN: 20090041624
3 | Turbidimeter (Omar) | HACH 2100 Q SN:21050C090381
4 | Chlorine Test Kit ( Omar) | HACH / Cat No.990200
5 | Turbidimeter (Omar) | Palintest / S.N: 09209180074